## SDGE Table 1.6
Table 1.6 - Third Party Measure Grouping Gross and NET Savings
Measure Summary Categories | Unit Description (1*) | Unit Goals | Total Gross kW | Total Net kW | % Portfolio Kw | Total Gross kWh Savings | Total Net kWh Savings | % Portfolio Kwh | Total Gross Therms | Total Net Therms | % Portfolio Therms | Weighted Avg NTG Ratio | Weighted Avg EUL | CONCATENATE | COUNT OF FIELD
Residential
EE Freezer Recycling - using ED weights | appliance | 12000 | 1526.9026 | 1297.8672 | 4.228% | 8288554.0596 | 7045270.9507 | 7.84% | -116692.0474 | -99188.2403 | -50.89% | 0.85 | 4
EE Refrigerator Recycling - using ED weights | appliance | 30400 | 5289.1251 | 4495.7564 | 14.64% | 28140985.5821 | 23919837.7448 | 26.62% | -417754.4847 | -355091.312 | -182.2% | 0.85 | 5
Increase Refrigerant Charge - Typical (< 20% rated charge) | tons served cooling | 15525 | 883.2112 | 750.7295 | 2.445% | 527754.2766 | 448591.1351 | 0.4992% | -181.0759 | -153.9146 | -0.07897% | 0.85 | 15
Residential AC SEER 14 | Ton | 18000 | 2547.403 | 1706.76 | 5.56% | 1619216.1028 | 1084874.7889 | 1.207% | -9441.3325 | -6325.6928 | -3.245% | 0.67 | 15
Residential Condensor Coil Cleaning - Tune-up 3P SF | Home | 11100 | 3956.04 | 3085.7112 | 10.05% | 2997000 | 2337660 | 2.601% | 0 | 0 | 0% | 0.78 | 3
Residential Condensor Coil Cleaning/Tune-up 3P Mobile Home | Home | 11299 | 4026.9636 | 3141.0316 | 10.23% | 3050730 | 2379569.4 | 2.648% | 0 | 0 | 0% | 0.78 | 3
Residential Duct Test and Seal 3P Mobile Home | Home | 5015 | 487.9194 | 380.5771 | 1.24% | 343716.5655 | 268098.9211 | 0.2983% | 41383.5292 | 32279.1528 | 16.56% | 0.78 | 18
CFL, 18W lamp, Integral or Modular, Tube or Spiral or Flood (Reflector)- 3P DI | lamp | 30000 | 1214.6602 | 1032.4612 | 3.363% | 5125899.8315 | 4357014.8568 | 4.849% | -3675.882 | -3124.4997 | -1.603% | 0.85 | 3.08
Water Heating Controls NR - 3P | Therm | 491790 | 0 | 0 | 0% | 0 | 0 | 0% | 491790 | 344253 | 176.6% | 0.7 | 10
Subtotal |  | 625129 | 19932.2251 | 15890.8942 |  | 50093856.4181 | 41840917.7973 |  | -14571.2932 | -87351.5065
Commercial
Commercial Condensor Coil Cleaning | Ton | 2100 | 98.7 | 69.09 | 0.2251% | 126000 | 88200 | 0.09815% | 0 | 0 | 0% | 0.7 | 3
Commercial HVAC Diagnostic/Tune-up | Ton | 3600 | 168.3542 | 117.8479 | 0.3839% | 216033.9576 | 151223.7703 | 0.1683% | -10.3532 | -7.2472 | -0.003718% | 0.7 | 10
Premium T8 with T12 40 Watt Baseline | Fixture | 309876 | 6017.9502 | 4694.0011 | 15.29% | 21954348.6353 | 17124391.9356 | 19.06% | -19855.1642 | -15487.0281 | -7.946% | 0.78 | 15
CFL, 18W lamp, Integral or Modular, Tube or Spiral or Flood - 3P DI | lamp | 29203 | 300.8534 | 255.7254 | 0.833% | 2432879.3534 | 2067947.4504 | 2.301% | -9.1078 | -7.7417 | -0.003972% | 0.85 | 5.3
FL, (2) 48in, T8 lamp, Premium IS EB, NLO (BF: .85-.95), Lumens=5346, W/fixt=5 | fixture | 33000 | 365.219 | 310.4362 | 1.011% | 2384995.9889 | 2027246.5906 | 2.256% | -49993.2117 | -42494.2299 | -21.8% | 0.85 | 15
Comm. EE AC Units < 65kBtuh EER=12.04 | Ton | 35400 | 11020.4448 | 7714.3114 | 25.13% | 27481055.4 | 19236738.78 | 21.41% | -5776.3242 | -4043.4269 | -2.074% | 0.7 | 15
Commercial Condensor Coil Cleaning 3P DI | ton | 22485 | 1056.795 | 739.7565 | 2.41% | 1349100 | 944370 | 1.051% | 0 | 0 | 0% | 0.7 | 3
Commercial HVAC Diagnostic/Tune-up - Sm Comm 3P DI | tons served cooling | 22485 | 1051.5121 | 893.7853 | 2.911% | 1349312.0937 | 1146915.2797 | 1.276% | -64.6643 | -54.9647 | -0.0282% | 0.85 | 10
Nonresidential Retro-Commissioning | KWH | 5642856 | 0 | 0 | 0% | 5642856 | 5078570.4 | 5.652% | 169285.68 | 152357.112 | 78.17% | 0.9 | 10
Subtotal |  | 6101005 | 20079.8287 | 14794.9537 |  | 62936581.429 | 47865604.2065 |  | 93576.8546 | 90262.4735
Industrial
Gas - Custom 3P Projects | Therm | 300000 | 0 | 0 | 0% | 0 | 0 | 0% | 300000 | 192000 | 98.51% | 0.64 | 15
Other Industrial - Custom 3P projects | kWh | 241769 | 20.1394 | 12.8892 | 0.04199% | 241769 | 154732.16 | 0.1722% | 0 | 0 | 0% | 0.64 | 15
Subtotal |  | 541769 | 20.1394 | 12.8892 |  | 241769 | 154732.16 | 0.1722% | 300000 | 192000
Total |  | 7267903 | 40032.1931 | 30698.7372 | 100% | 113272206.8471 | 89861254.1638 | 100% | 379005.5614 | 194910.9671 | 100%