## EVSE Install Cost
Residential EVSE Average Cost installation detail
Initial Site Visit, Job Design, and Electrical Permit
Initial site visit (collect information for load calculations, inspect panel, take photos, travel time)
|  | 2 | hrs | @ | 75 | = | 150
Administrative preparation for permit submittal (Perform load calculations, job design, generate site drawing to accompany permit application, misc. permit paperwork)
|  | 2 | hrs | @ | 50 | = | 100
Obtaining permit (travel time, wait time, over the counter process, batch submittal if possible)
|  | 1 | hrs | @ | 50 | = | 50
Avg Cost of Permit
[6 empty] | = | 206
After completion, return to meet with City Inspector to signoff job (travel time, wait time)
|  | 1 | hrs | @ | 75 | = | 75
Install 40 amp charging circuit & EVSE
Labor for average installation (installing circuit breaker, stubbing through wall, running conduit to EVSE location, pull wire, terminate, test, clean up)
|  | 5 | hrs | @ | 75 | = | 375
Material for average installation (circuit breaker, conduit, wire, junction box, NEMA receptacle, misc. hardware)
200
Misc. job items
Administrative tasks to close out and bill job
|  | 1 | hrs | @ | 50 | = | 50
Contractor Markup
200
[5 empty] | Total: |  | 1406