## Tab Descriptions
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Tab Descriptions
Line |  |  | Line
No. | Tab Name | Tab Description | No.
1 | Tab Descriptions | Description of Tabs in Workpaper | 1
2 | Marg Distrib Demand Cost Sum | Marginal Distribution Demand Cost Summary | 2
3 | Marg F&LD Costs | Marginal Distribution Feeder and Local Distribution Demand Costs | 3
4 | Marg Substation Costs | Marginal Substation Distribution Demand Costs | 4
5 | Marg F&LD Cost Cal | Marginal Distribution Feeder and Local Distribution Demand Cost Calculation based on National Economic Research Associates ("NERA") Regression Method | 5
6 | Marg Substation Cost Cal | Marginal Substation Distribution Demand Cost Calculation based on NERA Regression Method | 6
7 | Distrib Capital Actual Data | 2017-2019 Electric Distribution Capital Actual Costs | 7
8 | Distrib Capital Forecast Data | 2017-2019 Electric Distribution Capital Forecast Costs | 8
9 | Distrib Capital Historical Data | 2005-2017 Electric Distribution Capital Historical Costs | 9
10 | Inputs | Loading Factor, Real Economic Carrying Charge ("RECC"), and Escalation Inputs used in Workpaper | 10

## Marg Distrib Demand Cost Sum
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Marginal Distribution Demand Summary
Line |  |  | Line
No. |  |  | No.
Feeders and Local Distribution Demand Costs ($/kW/Yr)
1 |  |  | 1
2 |  |  | 2
3 | NERA Regression Method | 57.6316 | 3
4 |  |  | 4
5 |  |  | 5
6 | Substation Distribution Demand Costs ($/kW/Yr) |  | 6
7 |  |  | 7
8 |  |  | 8
9 | NERA Regression Method | 25.057 | 9
10 |  |  | 10

## Marg F&LD Costs
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Unit Feeders and Local Distribution Marginal Distribution Demand Costs (2020$)
NERA Regression Method
Line | [5 empty] | Line
No. | Description | Value | Units | Source | Factor | No.
1 | Distribution Investment | 414.0657 | $/kW |  |  | 1
2 | [5 empty] | 2
3 | General Plant Loading | 12.0472 | $/kW | L1 x Factor | 2.909% | 3
4 | [5 empty] | 4
5 | Working Capital Loading | 8.2596 | $/kW | L1 x Factor | 1.995% | 5
6 | [5 empty] | 6
7 | Subtotal Distribution Investment | 434.3725 | $/kW | L1 + L2 + L5 |  | 7
8 | [5 empty] | 8
9 | RECC Annualized Investment | 31.1996 | $/kW/Yr | L4 x Factor | 7.183% | 9
10 | [5 empty] | 10
11 | A&G Loading Applicable to Plant Loading | 0.53787 | $/kW/Yr | L5 x Factor | 1.724% | 11
12 | [5 empty] | 12
13 | Fixed O&M Overhead Cost | 16.6575 | $/kW/Yr | O&M Workpapers |  | 13
14 | [5 empty] | 14
15 | A&G on Fixed O&M Loading | 6.5345 | $/kW/Yr | L7 x Factor | 39.23% | 15
16 | [5 empty] | 16
17 | Escalated Total Annual Unit Investment Cost | 57.6316 | $/kW/Yr | (L5+L6)*Factor+L7+L8 | 1.0851 | 17
Note:
(1) Fixed O&M Overhead Cost: is based on a three-year average (2016-2018) of fixed O&M costs associated with Feeder & Local
Distribution investments.
(2) The values may not equal the sum or product of the calculation shown due to rounding.
(3) Input data in blue font comes from a separate source file.

## Marg Substation Costs
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Unit Substation Marginal Distribution Demand Costs (2020$)
NERA Regression Method
Line | [5 empty] | Line
No. | Description | Value | Units | Source | Factors | No.
1 | Distribution Investment | 240.2597 | $/kW |  |  | 1
2 | [5 empty] | 2
3 | General Plant Loading | 6.9903 | $/kW | L1 x Factor | 2.909% | 3
4 | [5 empty] | 4
5 | Working Capital Loading | 4.7926 | $/kW | L1 x Factor | 1.995% | 5
6 | [5 empty] | 6
7 | Subtotal Distribution Investment | 252.0426 | $/kW | L1 + L2 + L3 |  | 7
8 | [5 empty] | 8
9 | RECC Annualized Investment | 17.7997 | $/kW/Yr | L4 x Factor | 7.062% | 9
10 | [5 empty] | 10
11 | A&G Loading Applicable to Plant Loading | 0.30686 | $/kW/Yr | L5 x Factor | 1.724% | 11
12 | [5 empty] | 12
13 | Fixed O&M Overhead Cost | 3.8848 | $/kW/Yr | O&M Workpapers |  | 13
14 | [5 empty] | 14
15 | A&G on Fixed O&M Loading | 1.524 | $/kW/Yr | L7 x Factor | 39.23% | 15
16 | [5 empty] | 16
17 | Escalated Total Annual Unit Investment Cost | 25.057 | $/kW/Yr | (L5+L6)*Factor+L7+L8 | 1.0851 | 17
Note:
(1) Fixed O&M Overhead Cost: is based on a three-year average (2016-2018) of fixed O&M costs associated with Substation
investments.
(2) The values may not equal the sum or product of the calculation shown due to rounding.
(3) Input data in blue font comes from a separate source file.

## Marg F&LD Cost Cal
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Marginal Feeders & Local Distribution Cost Calculations for NERA Regression Method
Line | Year | Escalation Factors | Normalized Load | Incremental Load | Feeders & Local Distribution ($000) | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
1 | 2005 | 0.57737 | 5143.1492 | 38.0176 | 69154.4695 | 1
2 | 2006 | 0.6379 | 5278.544 | 173.4124 | 125455.6602 | 2
3 | 2007 | 0.70373 | 5417.897 | 312.7654 | 191059.5674 | 3
4 | 2008 | 0.76889 | 5716.9216 | 611.79 | 237746.2971 | 4
5 | 2009 | 0.78662 | 5821.706 | 716.5744 | 285491.3467 | 5
6 | 2010 | 0.81927 | 5853.8635 | 748.7319 | 312399.1114 | 6
7 | 2011 | 0.85447 | 5899.6305 | 794.4989 | 334563.4629 | 7
8 | 2012 | 0.88403 | 5922.1318 | 817.0002 | 361257.5559 | 8
9 | 2013 | 0.91593 | 5923.6395 | 818.5079 | 384869.5918 | 9
10 | 2014 | 0.94415 | 5946.9883 | 841.8567 | 402502.0247 | 10
11 | 2015 | 0.96699 | 5690.7952 | 585.6636 | 423951.0413 | 11
12 | 2016 | 0.98044 | 6018.6018 | 913.4702 | 444174.0922 | 12
13 | 2017 | 1 | 5767.1857 | 662.0541 | 457083.2259 | 13
14 | 2018 | 1.0242 | 5923.1535 | 818.0219 | 463479.4718 | 14
15 | 2019 | 1.0536 | 5882.6767 | 777.5451 | 474721.3521 | 15
16 | [5 empty] | 16
17 | [5 empty] | 17
18 | [5 empty] | 18
19 | NERA Regression Method (2017 $/kW/Yr) |  |  |  |  | 19
20 | [5 empty] | 20
21 |  | Feeders & Local Distribution |  | 414.0657 |  | 21
=Regression Slope of Col (E) vs Col (D)
Note:
(1) Escalation Factors: are from the Direct Testimony of Scott R. Wilder, Exhibit SDG&E-39, in
in SDG&E's TY 2019 GRC Phase 1 (A.17-10-007).
(2) Normalized Load: reflects weather normalized SDG&E distribution planning forecasted
circuit loads.
(3) Input data in blue font comes from a separate source file.

## Marg Substation Cost Cal
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Marginal Substation Cost Calculations for NERA Regression Method
Line | Year | Escalation Factors | Normalized Load | Incremental Load | Substations ($000) | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
1 | 2005 | 0.57737 | 4707.2424 | 32.3937 | 16993.4399 | 1
2 | 2006 | 0.6379 | 4789.1688 | 114.3201 | 29385.7872 | 2
3 | 2007 | 0.70373 | 4972.8123 | 297.9635 | 44598.87 | 3
4 | 2008 | 0.76889 | 5149.5179 | 474.6692 | 54348.948 | 4
5 | 2009 | 0.78662 | 5223.4533 | 548.6046 | 69911.345 | 5
6 | 2010 | 0.81927 | 5243.4833 | 568.6346 | 86203.1492 | 6
7 | 2011 | 0.85447 | 5311.4781 | 636.6294 | 106750.5368 | 7
8 | 2012 | 0.88403 | 5301.2973 | 626.4486 | 113882.0129 | 8
9 | 2013 | 0.91593 | 5284.7355 | 609.8868 | 128419.7199 | 9
10 | 2014 | 0.94415 | 5456.8112 | 781.9625 | 148747.8929 | 10
11 | 2015 | 0.96699 | 5300.1937 | 625.345 | 153475.8267 | 11
12 | 2016 | 0.98044 | 5487.8011 | 812.9524 | 165397.7904 | 12
13 | 2017 | 1 | 5221.3791 | 546.5304 | 203310.9137 | 13
14 | 2018 | 1.0242 | 5352.12 | 677.2713 | 236542.1434 | 14
15 | 2019 | 1.0536 | 5360.85 | 686.0013 | 254993.7209 | 15
16 | [5 empty] | 16
17 | [5 empty] | 17
18 | [5 empty] | 18
19 | NERA Regression Method (2017 $/kW/Yr) |  |  |  |  | 19
20 | [5 empty] | 20
21 |  | Substations |  | 240.2597 |  | 21
=Regression Slope of Col (E) vs Col (D)
Note:
(1) Escalation Factors: are from the Direct Testimony of Scott R. Wilder, Exhibit SDG&E-39, in
SDG&E's TY 2019 GRC Phase 1 (A.17-10-007).
(2) Normalized Load: reflects weather normalized SDG&E distribution planning forecasted
substation loads.
(3) Input data in blue font comes from a separate source file.

## Distrib Capital Actual Data
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
SDG&E 2017-2019 ACTUAL DISTRIBUTION PLAN COSTS ($000) FROM SDG&E SPENDING ACCOUTABILITY REPORTS
Line |  | (A) | (B) | (C) | (D) | Line
No. | Category | 2017 | 2018 | 2019 | 3 Yr Avg | No.
Actual Distribution Plant
1 | New Business - Demand | 17296.6603 | 17151.7687 | 16757.2426 | 17068.5572 | 1
2 | Easements | 1410.9427 | 1587.8686 | 1783.8132 | 1594.2082 | 2
3 | Capacity | 9750.0106 | 4686.1056 | 8683.8557 | 7706.6573 | 3
4 | Capacity-Substation | 32264.8921 | 26444.7899 | 17893.0327 | 25534.2383 | 4
5 | Reliability | 70495.7646 | 65228.17 | 67275.6394 | 67666.5247 | 5
6 | Reliability-Substation | 32207.8578 | 20084.2595 | 10094.7588 | 20795.6254 | 6
7 | Franchise | 32108.5097 | 23001.4964 | 48763.3281 | 34624.4447 | 7
8 | Safety and Risk Management | 69704.9976 | 65557.7208 | 138679.8567 | 91314.1917 | 8
9 | Mandated | 29206.1579 | 39062.4827 | 58093.1328 | 42120.5911 | 9
10 | Miscellaneous | 8292.7193 | 2727.6009 | 1435.5509 | 4151.957 | 10
11 | Overhead Pools | 76248.2019 | 86093.1223 | 123000.7833 | 95114.0358 | 11
12 | Overhead Pools-Substation | 11099.4626 | 13225.3224 | 2328 | 8884.2617 | 12
13 | New Business - Customer | 43265.7562 | 40725.5836 | 47334.1268 | 43775.1555 | 13
14 | Total | 433351.9333 | 405576.2913 | 542123.121 | 460350.4486 | 14
15 | [5 empty] | 15
16 | Easement Allocation Calculation |  |  |  |  | 16
17 | Allocation Factor: (L2) / (L14 - L13 - L2) | 0.363% | 0.4371% | 0.3618% | 0.3842% | 17
18 | Total Feder & Local Distribution ("FLD") Related Portion: (L17) * (L14 - L2 - L4 - L6 - L12 - L13) | 1136.6056 | 1326.6746 | 1674.1232 | 1382.0953 | 18
19 | Total Substation Related Portion: (L17) x (L4 + L6 + L12) | 274.3372 | 261.194 | 109.6899 | 212.1128 | 19
20 | Total | 1410.9427 | 1587.8686 | 1783.8132 | 1594.2082 | 20
21 | [5 empty] | 21
22 | FLD Capacity-Related Portion of Easement Costs: (L17) x (L3) | 35.3938 | 20.4836 | 31.4203 | 29.6062 | 22
23 | Substation Capacity-Related Portion of Easement Costs: (L17) x (L4) | 117.1258 | 115.5936 | 64.7414 | 98.0934 | 23
24 | [5 empty] | 24
25 | Overhead Pool Allocation Calculation |  |  |  |  | 25
26 | Allocation Factor: (L11) / (L14 - L4 - L6 - L11 - L12 - L13 - L19) | 32.04% | 39.36% | 36.03% | 35.75% | 26
27 | Total FLD Related Portion: (L42) * (L14 - L4 - L6 - L11 - L12 - L13 - L19) | 76248.2019 | 86093.1223 | 123000.7833 | 95114.0358 | 27
28 | [5 empty] | 28
29 | FLD Capacity-Related Portion of Overhead Pool Costs: (L26) x (L3) | 3123.7292 | 1844.3711 | 3128.9914 | 2755.3188 | 29
30 | [5 empty] | 30
31 | Overhead Pool-Substation Allocation Calculation |  |  |  |  | 31
32 | Allocation Factor: (L12) / (L4 + L6 + L19) | 17.14% | 28.27% | 8.285% | 19.09% | 32
33 | Total FLD Related Portion: (L32) * (L4 + L6 + L19) | 11099.4626 | 13225.3224 | 2328 | 8884.2617 | 33
34 | [5 empty] | 34
35 | Substation Capacity-Related Portion of Overhead Pool-Substation Costs: (L32) x (L4) | 5531.1054 | 7474.6538 | 1482.5165 | 4874.156 | 35
36 | [5 empty] | 36
37 | [5 empty] | 37
38 | FLD Capacity-Related Costs |  |  |  |  | 38
39 | FLD Capacity-Related Costs | 12909.1337 | 6550.9603 | 11844.2675 | 10100.6461 | 39
40 | (L3 + L22 + L29) |  |  |  |  | 40
41 | [5 empty] | 41
42 | Total FLD Costs | 314239.6274 | 304835.1419 | 464363.5128 | 361149.0549 | 42
43 | (L14 - L4 - L6 - L12 - L13 - L19) |  |  |  |  | 43
44 | [5 empty] | 44
45 | FLD Capacity-Related Costs as % of Total FLD Costs | 4.108% | 2.149% | 2.551% | 2.797% | 45
46 | (L39 / L42) |  |  |  |  | 46
47 | [5 empty] | 47
48 | Substation Capacity-Related Costs |  |  |  |  | 48
49 | Substation Capacity-Related Costs | 37913.1233 | 34035.0373 | 19440.2906 | 30528.8031 | 49
50 | L4 + L23 + L35 |  |  |  |  | 50
51 | [5 empty] | 51
52 | Total Substation Costs | 75846.5497 | 60015.5658 | 30425.4814 | 55426.2381 | 52
53 | L4 + L6 + L12 + L19 |  |  |  |  | 53
54 | [5 empty] | 54
55 | Substation Capacity-Related Costs as % of Total Substation Costs | 49.99% | 56.71% | 63.89% | 55.08% | 55
56 | (L49 / L52) |  |  |  |  | 56
57 | [5 empty] | 57
58 | Total Distribution Capacity-Related Costs |  |  |  |  | 58
59 | Total Capacity-Related Costs | 50822.257 | 40585.9977 | 31284.5581 | 40629.4491 | 59
60 | (L39 + L49) |  |  |  |  | 60
61 | [5 empty] | 61
62 | Total Distribution Capacity-Related Costs as % of Total FLD and Substation Costs | 13.03% | 11.12% | 6.323% | 9.753% | 62
63 | (L59 / (L42 + L52) |  |  |  |  | 63
Note:
(1) Actual Distribution Plant Data: based on SDG&E Distribution Capital Budget Actual Expenditures.
(2) FLD Capacity-Related Costs as % Total FLD Costs: percentage calculated by dividing the "FLD Capacity-Related Costs"
over the "Total FLD Costs".
(3) Substation Capacity-Related Costs as % of Total Substation Costs: percentage calculated by dividing the "Substation Capacity-Related Costs"
over the "Total Substation Costs".
(4) Total Capacity-Related Substation Costs as % of Above: percentage calculated by dividing the "Total Capacity-Related
Costs" (capacity costs for Feeder & Local Distribution and Substation) by the Total Costs less Customer Costs.
(5) Input data in blue font comes from a separate source file.

## Distrib Capital Forecast Data
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
SDG&E 2017-2019 Forecasted Distribution Plant Costs ($000) from SDG&E's TY 2019 GRC Phase 1 (A.17-10-007)
Line |  | (A) | (B) | (C) | (D) | Line
No. | Category | 2017 | 2018 | 2019 | 3 Yr Avg | No.
Forecasted Distribution Plant
1 | New Business - Demand | 20846 | 26182 | 27710 | 24912.6667 | 1
2 | Easements | 871 | 1037 | 1097 | 1001.6667 | 2
3 | Capacity | 10147 | 6773 | 9108 | 8676 | 3
4 | Capacity-Substation | 22162 | 20064 | 20463 | 20896.3333 | 4
5 | Reliability | 78334 | 149682 | 138093 | 122036.3333 | 5
6 | Reliability-Substation | 18430 | 27051 | 36200 | 27227 | 6
7 | Franchise | 16170 | 21527 | 16170 | 17955.6667 | 7
8 | Safety and Risk Management | 79120 | 106109 | 178070 | 121099.6667 | 8
9 | Mandated | 31819 | 33075 | 31819 | 32237.6667 | 9
10 | Miscellaneous | 4833 | 2531 | 3029 | 3464.3333 | 10
11 | Overhead Pools | 71155 | 94462 | 114145 | 93254 | 11
12 | Overhead Pools-Substation | 13948 | 25924 | 48346 | 29406 | 12
13 | New Business - Customer | 46253 | 43047 | 45447 | 44915.6667 | 13
14 | Total | 414088 | 557464 | 669697 | 547083 | 14
15 | [5 empty] | 15
16 | Easement Allocation Calculation |  |  |  |  | 16
17 | Allocation Factor: (L2) / (L14 - L13 - L2) | 0.2374% | 0.202% | 0.176% | 0.1999% | 17
18 | Total Feder & Local Distribution ("FLD") Related Portion: (L17) * (L14 - L2 - L4 - L6 - L12 - L13) | 741.5477 | 889.4651 | 912.1419 | 846.7108 | 18
19 | Total Substation Related Portion: (L17) x (L4 + L6 + L12) | 129.4523 | 147.5349 | 184.8581 | 154.9558 | 19
20 | Total | 871 | 1037 | 1097 | 1001.6667 | 20
21 | [5 empty] | 21
22 | FLD Capacity-Related Portion of Easement Costs: (L17) x (L3) | 24.0842 | 13.6811 | 16.0337 | 17.3405 | 22
23 | Substation Capacity-Related Portion of Easement Costs: (L17) x (L4) | 52.6022 | 40.5282 | 36.0231 | 41.765 | 23
24 | [5 empty] | 24
25 | Overhead Pool Allocation Calculation |  |  |  |  | 25
26 | Allocation Factor: (L11) / (L14 - L4 - L6 - L11 - L12 - L13 - L19) | 29.4% | 27.24% | 28.19% | 28.15% | 26
27 | Total FLD Related Portion: (L42) * (L14 - L4 - L6 - L11 - L12 - L13 - L19) | 71155 | 94462 | 114145 | 93254 | 27
28 | [5 empty] | 28
29 | FLD Capacity-Related Portion of Overhead Pool Costs: (L26) x (L3) | 2983.3815 | 1845.0095 | 2567.5576 | 2442.6351 | 29
30 | [5 empty] | 30
31 | Overhead Pool-Substation Allocation Calculation |  |  |  |  | 31
32 | Allocation Factor: (L12) / (L4 + L6 + L19) | 34.25% | 54.85% | 85.04% | 60.91% | 32
33 | Total FLD Related Portion: (L32) * (L4 + L6 + L19) | 13948 | 25924 | 48346 | 29406 | 33
34 | [5 empty] | 34
35 | Substation Capacity-Related Portion of Overhead Pool-Substation Costs: (L32) x (L4) | 7590.9762 | 11005.3161 | 17402.6644 | 12727.8242 | 35
36 | [5 empty] | 36
37 | [5 empty] | 37
38 | FLD Capacity-Related Costs |  |  |  |  | 38
39 | FLD Capacity-Related Costs | 13154.4657 | 8631.6906 | 11691.5913 | 10843.4134 | 39
40 | (L3 + L22 + L29) |  |  |  |  | 40
41 | [5 empty] | 41
42 | Total FLD Costs | 313165.5477 | 441230.4651 | 519056.1419 | 424483.0442 | 42
43 | (L14 - L4 - L6 - L12 - L13 - L19) |  |  |  |  | 43
44 | [5 empty] | 44
45 | FLD Capacity-Related Costs as % of Total FLD Costs | 4.2% | 1.956% | 2.252% | 2.554% | 45
46 | (L39 / L42) |  |  |  |  | 46
47 | [5 empty] | 47
48 | Substation Capacity-Related Costs |  |  |  |  | 48
49 | Substation Capacity-Related Costs | 29805.5784 | 31109.8443 | 37901.6875 | 33706.9058 | 49
50 | L4 + L23 + L35 |  |  |  |  | 50
51 | [5 empty] | 51
52 | Total Substation Costs | 54669.4523 | 73186.5349 | 105193.8581 | 77684.2892 | 52
53 | L4 + L6 + L12 + L19 |  |  |  |  | 53
54 | [5 empty] | 54
55 | Substation Capacity-Related Costs as % of Total Substation Costs | 54.52% | 42.51% | 36.03% | 43.39% | 55
56 | (L49 / L52) |  |  |  |  | 56
57 | [5 empty] | 57
58 | Total Distribution Capacity-Related Costs |  |  |  |  | 58
59 | Total Capacity-Related Costs | 42960.0441 | 39741.5349 | 49593.2788 | 44550.3191 | 59
60 | (L39 + L49) |  |  |  |  | 60
61 | [5 empty] | 61
62 | Total Distribution Capacity-Related Costs as % of Total FLD and Substation Costs | 11.68% | 7.726% | 7.944% | 8.872% | 62
63 | (L59 / (L42 + L52) |  |  |  |  | 63
Note:
(1) Forecasted Distribution Plant Data: based on the Distribution Capital Budget Forecasts in the Revised Direct Testimony of
SDG&E witness Alan Colton, Exhibit SDG&E-14, Appendix A, in SDG&E's TY 2019 GRC Phase 1 (A.17-10-007).
(2) FLD Capacity-Related Costs as % Total FLD Costs: percentage calculated by dividing the "FLD Capacity-Related Costs"
over the "Total FLD Costs".
(3) Substation Capacity-Related Costs as % of Total Substation Costs: percentage calculated by dividing the "Substation Capacity-Related Costs"
over the "Total Substation Costs".
(4) Total Capacity-Related Substation Costs as % of Above: percentage calculated by dividing the "Total Capacity-Related
Costs" (capacity costs for Feeder & Local Distribution and Substation) by the Total Costs less Customer Costs.
(5) Input data in blue font comes from a separate source file.

## Distrib Capital Historic Data
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
SDG&E 2005-2017 Historical Distribution Plant Costs ($000)
Line | [14 empty] | Line
No. | Category | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | No.
Historical Distribution Plant
1 | 360 Land and Land Rights | 9667.236 | 1684.352 | 1993.202 | 1121.666 | 1624.499 | 1995.934 | 1979.203 | 1824.518 | 1450.774 | 4920.945 | 1616.381 | 1528.947 | 1764.805 | 1
2 | 361 Structures and Improvements | 13.005 | 195.098 | 94.049 | 22.091 | 3.335 | 65.257 | 178.699 | 31.014 | 491.949 | 32.17 | -0.071 | 632.301 | -33.622 | 2
3 | 362 Station Equipment | 17159.688 | 15050.275 | 20588.525 | 14533.432 | 23662.29 | 25633.42 | 33568.761 | 12127.403 | 25311.082 | 39776.62 | 9852.518 | 24545.646 | 18896.215 | 3
4 | 363 Battery Storage Equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6219.012 | 673.552 | 30743.932 | 626.387 | 86799.715 | 4
5 | 364 Poles, Towers, and Fixtures | 20624.331 | 18020.496 | 54910.126 | 23118.23 | 31921.308 | 39200.97 | 28798.588 | 28688.015 | 36488.207 | 44940.737 | 57766.235 | 41987.674 | 53470.905 | 5
6 | 365 Overhead Conductors and Devices | 15810.562 | 14991.469 | 30967.341 | 18973.545 | 25740.92 | 25992.451 | 22575.234 | 22302.311 | 23553.167 | 37422.969 | 86823.007 | 65814.148 | 72245.22 | 6
7 | 366 Underground Conduit | 32992.572 | 42451.442 | 35560.347 | 52494.886 | 47181.329 | 36277.131 | 34688.206 | 51543.87 | 45107.415 | 41227.036 | 52047.726 | 77055.668 | 77662.334 | 7
8 | 367 Underground Conductors and Devices | 66707.347 | 73886.129 | 71263.863 | 56880.516 | 52148.704 | 52754.985 | 45632.672 | 63556.491 | 49766.702 | 45203.246 | 60904.39 | 60691.737 | 72843.973 | 8
9 | 368 Line Transformers | 27360.044 | 35116.859 | 43436.015 | 32762.905 | 33553.273 | 34550.988 | 28652.896 | 30975.853 | 32166.859 | 26168.397 | 41506.541 | 42468.671 | 28385.581 | 9
10 | 369 Services | 18333.812 | 19627.059 | 21643.156 | 18792.738 | 16768.473 | 15606.927 | 13330.726 | 13941.335 | 14086.584 | 14403.208 | 14821.208 | 22102.203 | 24576.587 | 10
11 | 370 Meters | 4608.666 | 5775.252 | 5268.17 | 7657.876 | 33201.573 | 138718.721 | 53588.515 | 19713.233 | 6733.108 | 2825.04 | 3984.603 | 1765.998 | 4815.123 | 11
12 | 371 Installations on Customer Premises | 278.219 | 164.258 | 117.033 | 188.414 | 107.535 | 112.514 | 133.214 | 148.819 | 186.632 | 1162.271 | 180.791 | 650.626 | 563.96 | 12
13 | 373 Streetlighting and Signal Systems | 672.752 | 568.123 | 572.767 | 633.36 | 1023.183 | -5.009 | 421.761 | 461.869 | 1143.139 | 793.047 | 1604.749 | 1727.739 | 1077.853 | 13
14 | [14 empty] | 14
15 | Total | 214228.234 | 227530.812 | 286414.594 | 227179.659 | 266936.422 | 370904.289 | 263548.475 | 245314.731 | 242704.63 | 259549.238 | 361852.01 | 341597.745 | 443068.649 | 15
16 | [14 empty] | 16
17 | Capacity Factors for Feeder & Local Distribution Demand Costs | 23.02% | 23.02% | 23.02% | 23.02% | 23.02% | 13.18% | 13.18% | 13.18% | 13.18% | 7.511% | 7.511% | 7.511% | 4.108% | 17
18 | Capacity-Related Feeder & Local Distribution Demand Costs | 39927.791 | 35914.3023 | 46167.2859 | 35896.8503 | 37557.3026 | 22044.6996 | 18938.749 | 23598.2723 | 21627.072 | 16647.6232 | 20740.929 | 19827.4347 | 12623.8742 | 18
19 | [14 empty] | 19
20 | Capacity Factors for Substation Demand Costs | 50.83% | 50.83% | 50.83% | 50.83% | 50.83% | 50.83% | 50.83% | 50.83% | 50.83% | 45.86% | 45.86% | 45.86% | 49.99% | 20
21 | Substation-Related Demand Costs | 9811.5208 | 7905.0283 | 10705.8675 | 7496.7147 | 12241.7225 | 13347.3715 | 17557.1036 | 6304.4103 | 13315.5835 | 19192.8004 | 4571.8524 | 11688.7386 | 9515.9416 | 21
Note:
(1) Historical Distribution Plant: from SDG&E's 2005-2017 Federal Energy Commission (FERC) Form 1 reports.
(2) Capacity Factors for Feeder & Local Distribution Demand Costs: capacity factors based on costs in each applicable period: (a) 2019 GRC Phase 2 (A.19-03-002) actual costs for year 2017; (b) 2016 GRC Phase 2
(A.15-04-012) forecasted costs for years 2014-2016; (c) 2012 GRC Phase 2 (A.11-10-002) forecasted costs for years 2010-2013; and (d) 2008 GRC Phase 2 (A.07-01-047) forecasted costs for years 2005-2009.
(3) Capacity Factors for Substation Costs: capacity factors based on costs in each applicable period: (a) 2019 GRC Phase 2 (A.19-03-002) actual costs for year 2017; (b) 2016 GRC Phase 2 (A.15-04-012)
forecasted costs for years 2014-2016; and (c) 2012 GRC Phase 2 (A.11-10-002) forecasted costs for years 2005-2013.
(4) Input data in blue font comes from a separate source file.

## Inputs
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
MARGINAL DISTRIBUTION DEMAND COST WORKPAPER - CHAPTER 5 (SAXE) - REBUTTAL
Line |  |  | Line
No. |  |  | No.
Loading Factors, Working Capital, and RECCs
1 | General Plant Loading Factor = | 2.909% | 1
2 | Working Capital = | 1.995% | 2
3 |  |  | 3
4 | A&G O&M Loading Factor = | 39.23% | 4
5 | A&G Plant Loading Factor = | 1.724% | 5
6 | Substation RECC = | 7.062% | 6
7 | Feeders & Local Distrib RECC = | 7.183% | 7
8 |  |  | 8
9 |  |  | 9
10 | GRC Escalators |  | 10
11 | 2020 Distrib Plant Escalator = | 1.0851 | 11
Note:
(1) General Plant Loading Factor: based on a three-year average (2016-2018) of SDG&E plant expenses.
(2) Working Capital: is the average net working capital loading factor based on expenses from SDG&E's recent two GRC Phase 1 proceedings (TY 2019
GRC Phase 1 (A.17-10-007) and TY 2016 GRC Phase 1 (A.14-11-003).
(3) A&G O&M Loading Factor: based on three-year average (2016-2018) of administrative and general expenses associated with distribution O&M.
(4) A&G Plant Loading Factor: based on three-year average (2016-2018) of administrative and general expenses associated with distribution plant.
(5) Substation RECC: represents the calculated annual investment amounts for substation assets.
(6) Feeders & Local Distrib RECC: represents the calculated annual investment amounts for feeder & local distribution assets.
(7) 2020 Distrib Plant Escalator: from the Direct Testimony workpapers of SDG&E witness Scott R. Wilder, Exhibit SDG&E-39, in SDG&E's TY 2019
GRC Phase 1 (A.17-10-007).
(8) Input data in blue font comes from a separate source file.