## Tab Descriptions
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Tab Descriptions
Line |  |  | Line
No. | Tab Name | Tab Description | No.
1 | Tab Descriptions | Description of Tabs in Workpaper | 1
2 | Distrib Class EPMC Rates & Rev | Distribution Equal Percentage of Marginal Cost ("EPMC") Rates and Revenues by Customer Class | 2
3 | Distrib Revenue Allocation | Distribution Revenue Allocation by Customer Class | 3
4 | Distrib Allocation Factors | Distribution Marginal Cost Allocation Factor by Customer Class | 4
5 | Distrib Marginal Revenues | Distribution Marginal Revenues by Customer Class | 5
6 | Distrib Marginal Cost Summary | Distribution Marginal Unit Costs by Customer Class | 6
7 | Distrib System Determinants | 2020 Forecasted Distribution System Determinants by Customer Class | 7
8 | Distrib Revenue Requirement | Current Distribution Revenue Allocation by Customer Class | 8

## Distrib Class EPMC Rates & Rev
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Equal Percentage of Marginal Cost ("EPMC") Rates and Revenue by Customer Class
EPMC
Distribution
|  |  | Marginal | EPMC | Revenue
|  |  | Distribution | Distribution | Allocation
Line | Customer Class | Determinants | Rate | Rate | ($000) | Line
No. | (A) | (B) | (C) | (D) | (E) | No. | Check
Non-Coincident Demand/On-Peak Demand Spilt:
1 | Residential |  |  |  |  | 1
2 | Customer Marginal Cost ($/Customer-Month) | 15813958 | 11.1681 | 24.608 | 389150.4973 | 2 |  |  | Forecasted Average (2017-2019) Marginal Distribution Demand Capacity Costs ($000)
3 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) | 18669260.2157 | 0.54 | 1.1898 | 22213.479 | 3 |  |  | Feeder & Local Distribution | 10059.268
4 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) | 45984509.6798 | 3.8389 | 8.4588 | 388973.1246 | 4 |  |  | Substation | 15424.853
5 | Total - Residential |  |  |  | 800337.1009 | 5 | 0 |  | Total | 25484.121
6 | [5 empty] | 6
7 | Small Commercial |  |  |  |  | 7 |  |  | Forecasted On-Peak Related Marginal Distribution Capacity Cost Percentages
8 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 8 |  |  | Feeder & Local Distribution | 66.31%
9 | Secondary |  |  |  |  | 9 |  |  | Substation | 72.12%
10 | 0 - 5 kW | 705738.115 | 15.1292 | 33.336 | 23526.4605 | 10
11 | >5 - 20 kW | 750661.0464 | 30.3818 | 66.9438 | 50252.0935 | 11 |  |  | Forecasted Average Marginal Distribution Capacity Related % of Total Distribution Demand Costs
12 | >20 - 50 kW | 133160.8635 | 74.0345 | 163.1287 | 21722.3641 | 12 |  |  | Feeder & Local Distribution | 2.213%
13 | >50 kW | 9751.9208 | 111.6519 | 246.0153 | 2399.1218 | 13 |  |  | Substation | 22.44%
14 | Secondary Total | 1599311.9457 | 27.7814 | 61.2138 | 97900.0398 | 14 | 0
15 | [5 empty] | 15 |  |  | Forecasted Summer On-Peak Related Marginal Distribution Capacity Cost %
16 | Primary |  |  |  |  | 16 |  |  | Feeder & Local Distribution | 1.467%
17 | 0 - 5 kW | 986.9664 | 37.967 | 83.6571 | 82.5667 | 17 |  |  | Substation | 16.18%
18 | >5 - 20 kW | 206.3542 | 37.967 | 83.6571 | 17.263 | 18
19 | >20 - 50 kW | 21.2378 | 37.967 | 83.6571 | 1.7767 | 19
20 | >50 kW | 43.496 | 48.992 | 107.9498 | 4.6954 | 20
21 | Primary Total | 1258.0543 | 38.3482 | 84.497 | 106.3018 | 21 | 0
22 | [5 empty] | 22
23 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 23
24 | Secondary | 3807029.1756 | 0.80664 | 1.7774 | 6766.4408 | 24
25 | Primary | 26930.2808 | 0.80248 | 1.7682 | 47.6181 | 25
26 | Total | 3833959.4564 | 0.8066 | 1.7773 | 6813.9606 | 26 |  | FEA DR-03 - EPMC Rates and Revenues for Schedules AL-TOU and A6-TOU:
27 | [5 empty] | 27
28 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 28 | [5 empty] | EPMC
29 | Secondary | 10289024.2898 | 5.2002 | 11.4581 | 117892.9117 | 29 | [5 empty] | Distribution
30 | Primary | 102072.9869 | 5.1734 | 11.3991 | 1163.5406 | 30 |  |  |  | Marginal | EPMC | Revenue
31 | Total | 10391097.2766 | 5.1999 | 11.4575 | 119056.4524 | 31 | 0 |  |  | Distribution | Distribution | Allocation
32 | [5 empty] | 32 |  | Customer Class | Determinants | Rate | Rate | ($000)
33 | Total - Small Commercial |  |  |  | 223876.7546 | 33 |  | (A) | (B) | (C) | (D) | (E)
34 | [5 empty] | 34
35 | Medium/Large Commercial & Industrial |  |  |  |  | 35 |  | Schedule AL-TOU (Bunded)
36 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 36 |  | Customer Marginal Cost ($/Customer-Month)
37 | Secondary |  |  |  |  | 37 |  | Secondary
38 | ≤500 kW | 231890.4458 | 150.7003 | 332.0553 | 77000.4429 | 38 |  | ≤500 kW | 200229.5064 | 150.4689 | 331.5453 | 66385.1513
39 | 500 - 12 MW | 6890.965 | 362.514 | 798.7684 | 5504.2848 | 39 |  | 500 - 12 MW | 4890.3535 | 362.6518 | 799.0721 | 3907.7449
40 | > 12 MW |  |  |  |  | 40 |  | > 12 MW
41 | Secondary Total | 238781.4108 | 156.8131 | 345.5241 | 82504.7278 | 41 | 0 | Secondary Total | 205119.8599 | 155.5277 | 342.6918 | 70292.8963
42 | [5 empty] | 42
43 | Primary |  |  |  |  | 43 |  | Primary
44 | ≤500 kW | 1790.8568 | 74.6781 | 164.5467 | 294.6795 | 44 |  | ≤500 kW | 1116.142 | 74.6828 | 164.5572 | 183.6692
45 | 500 - 12 MW | 2665.7181 | 82.7166 | 182.2588 | 485.8507 | 45 |  | 500 - 12 MW | 1305.5882 | 82.6841 | 182.1874 | 237.8617
46 | > 12 MW | 44.1395 | 105.8914 | 233.3226 | 10.2987 | 46 |  | > 12 MW | 13.558 | 105.8914 | 233.3226 | 3.1634
47 | Primary Total | 4500.7144 | 79.7453 | 175.7119 | 790.829 | 47 | 0 | Primary Total | 2435.2882 | 78.5566 | 173.0928 | 421.5309
48 | [5 empty] | 48
49 | Transmission |  |  |  |  | 49 |  | Transmission
50 | ≤500 kW | 132.4247 | 523.2405 | 1152.9155 | 152.6744 | 50 |  | ≤500 kW | 105.0579 | 523.2405 | 1152.9155 | 121.1228
51 | 500 - 12 MW | 180.5178 | 778.6855 | 1715.7665 | 309.7265 | 51 |  | 500 - 12 MW | 93.794 | 815.0146 | 1795.8145 | 168.4367
52 | > 12 MW | 51.8169 | 1120.84 | 2469.6745 | 127.9709 | 52 |  | > 12 MW | 0 | 1106.7886 | 2438.7136 | 0
53 | Transmission Total | 364.7594 | 734.5528 | 1618.5239 | 590.3718 | 53 | 0 | Transmission Total | 198.8519 | 660.8639 | 1456.1567 | 289.5595
54 | [5 empty] | 54
55 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 55 |  | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW)
56 | Secondary | 7083819.1544 | 1.1459 | 2.5249 | 17886.1166 | 56 |  | Secondary | 5379060.5998 | 1.1459 | 2.5249 | 13581.728
57 | Primary | 1959909.3045 | 1.14 | 2.5119 | 4923.1355 | 57 |  | Primary | 845749.0304 | 1.14 | 2.5119 | 2124.4539
58 | Transmission |  |  |  |  | 58 |  | Transmission
59 | Total | 9043728.4589 | 1.1446 | 2.522 | 22807.8993 | 59 |  | Total | 6224809.6302 | 1.1446 | 2.522 | 15698.7056
60 | [5 empty] | 60
61 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 61 |  | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW)
62 | Secondary | 17143321.4377 | 8.0997 | 17.8469 | 305955.7376 | 62 |  | Secondary | 12888774.8592 | 8.0997 | 17.8469 | 230025.1228
63 | Primary | 5069265.4978 | 8.058 | 17.755 | 90004.8456 | 63 |  | Primary | 2084758.0682 | 8.058 | 17.755 | 37014.8946
64 | Transmission |  |  |  |  | 64 |  | Transmission
65 | Total | 22212586.9355 | 8.0902 | 17.826 | 395960.5831 | 65 | 0 | Total | 14973532.9274 | 8.0902 | 17.826 | 266917.5295
66 | [5 empty] | 66
67 | Total - Medium/Large Commercial & Industrial |  |  |  | 502654.4109 | 67 |  | Total - Schedule AL-TOU (Bundled) |  |  |  | 353620.2219
68 | [5 empty] | 68
69 | Agricultural |  |  |  |  | 69 |  | Schedule AL-TOU (DA/CCA)
70 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 70 |  | Customer Marginal Cost ($/Customer-Month)
71 | Secondary |  |  |  |  | 71 |  | Secondary
72 | ≤20 kW | 34978.9307 | 31.0518 | 68.4199 | 2393.2558 | 72 |  | ≤500 kW | 27178.5587 | 150.4689 | 331.5453 | 9010.9233
73 | >20 kW | 12071.0257 | 105.921 | 233.3878 | 2817.2305 | 73 |  | 500 - 12 MW | 1817.8101 | 362.6518 | 799.0721 | 1452.5613
74 | Secondary Total | 47049.9564 | 50.2601 | 110.7437 | 5210.4863 | 74 | 0 | > 12 MW
75 | [5 empty] | 75 |  | Secondary Total | 28996.3688 | 163.7709 | 360.855 | 10463.4846
76 | Primary |  |  |  |  | 76
77 | ≤20 kW | 23.6075 | 47.263 | 104.1399 | 2.4585 | 77 |  | Primary
78 | >20 kW | 146.4361 | 54.5099 | 120.1078 | 17.5881 | 78 |  | ≤500 kW | 664.8817 | 74.6828 | 164.5572 | 109.411
79 | Primary Total | 170.0436 | 53.5038 | 117.8909 | 20.0466 | 79 |  | 500 - 12 MW | 1175.886 | 82.6841 | 182.1874 | 214.2316
80 | [5 empty] | 80 |  | > 12 MW | 30.5815 | 105.8914 | 233.3226 | 7.1354
81 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 81 |  | Primary Total | 1871.3492 | 78.4901 | 172.9462 | 323.6427
82 | Secondary | 469880.674 | 0.63497 | 1.3991 | 657.4091 | 82
83 | Primary | 62861.6579 | 0.6317 | 1.3919 | 87.4966 | 83 |  | Transmission
84 | Total | 532742.3319 | 0.63457 | 1.3982 | 744.8967 | 84 |  | ≤500 kW | 27.3668 | 523.2405 | 1152.9155 | 31.5516
85 | [5 empty] | 85 |  | 500 - 12 MW | 27.332 | 815.0146 | 1795.8145 | 49.0833
86 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 86 |  | > 12 MW | 13.5832 | 1106.7886 | 2438.7136 | 33.1254
87 | Secondary | 1366013.585 | 3.7483 | 8.2591 | 11282.0502 | 87 |  | Transmission Total | 68.282 | 535.9455 | 1180.9098 | 80.6349
88 | Primary | 186876.8702 | 3.729 | 8.2166 | 1535.4857 | 88
89 | Total | 1552890.4552 | 3.746 | 8.254 | 12817.5359 | 89 |  | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW)
90 | [5 empty] | 90 |  | Secondary | 1527401.2888 | 1.1459 | 2.5249 | 3856.5747
91 | Total - Agricultural |  |  |  | 18792.9654 | 91 |  | Primary | 1044570.0577 | 1.14 | 2.5119 | 2623.8765
92 | [5 empty] | 92 |  | Transmission
93 | Lighting |  |  |  |  | 93 |  | Total | 2571971.3466 | 1.1446 | 2.522 | 6486.4026
94 | Customer Marginal Cost ($/Lamp-Month) | 1931845 | 0.63648 | 1.4024 | 2709.2923 | 94
95 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) | 236762.2179 | 0.23682 | 0.52182 | 123.5472 | 95 |  | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW)
96 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) | 236762.2179 | 3.8176 | 8.4117 | 1991.5714 | 96 |  | Secondary | 3958671.8068 | 8.0997 | 17.8469 | 70650.1571
97 | Total - Lighting |  |  |  | 4824.4108 | 97 |  | Primary | 2533884.2855 | 8.058 | 17.755 | 44989.1338
98 | [5 empty] | 98 |  | Transmission
99 | School |  |  |  |  | 99 |  | Total | 6492556.0923 | 8.0902 | 17.826 | 115736.0151
100 | Non-Lighting |  |  |  |  | 100
101 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 101 |  | Total - Schedule AL-TOU (DA/CCA) |  |  |  | 133090.1798
102 | Secondary |  |  |  |  | 102
103 | ≤20 kW | 7469 | 35.7126 | 78.6895 | 587.7322 | 103
104 | >20 kW | 10986.7298 | 172.8428 | 380.8442 | 4184.2327 | 104 |  | Schedule A6-TOU (Bunded)
105 | Secondary Total | 18455.7298 | 117.3464 | 258.5628 | 4771.9649 | 105 |  | Customer Marginal Cost ($/Customer-Month)
106 | [5 empty] | 106 |  | Secondary
107 | Primary |  |  |  |  | 107 |  | ≤500 kW
108 | ≤20 kW | 60 | 47.263 | 104.1399 | 6.2484 | 108 |  | 500 - 12 MW
109 | >20 kW | 508.5012 | 74.2435 | 163.5893 | 83.1853 | 109 |  | > 12 MW
110 | Primary Total | 568.5012 | 71.396 | 157.3149 | 89.4337 | 110 |  | Secondary Total
111 | [5 empty] | 111
112 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 112 |  | Primary
113 | Secondary | 410303.4042 | 0.98499 | 2.1703 | 890.5019 | 113 |  | ≤500 kW
114 | Primary | 50344.3834 | 0.97992 | 2.1592 | 108.7021 | 114 |  | 500 - 12 MW | 104.3312 | 85.1251 | 187.5658 | 19.569
115 | Total | 460647.7875 | 0.98444 | 2.1691 | 999.2054 | 115 |  | > 12 MW
116 | [5 empty] | 116 |  | Primary Total | 104.3312 | 85.1251 | 187.5658 | 19.569
117 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 117
118 | Secondary | 1476932.2183 | 4.7779 | 10.5276 | 15548.6075 | 118 |  | Transmission
119 | Primary | 180750.8934 | 4.7533 | 10.4734 | 1893.0784 | 119 |  | ≤500 kW
120 | Total | 1657683.1117 | 4.7752 | 10.5217 | 17441.6859 | 120 |  | 500 - 12 MW | 38.7338 | 687.8627 | 1515.6463 | 58.7067
121 | [5 empty] | 121 |  | > 12 MW | 24.9351 | 1125.5238 | 2479.9949 | 61.8388
122 | Lighting |  |  |  |  | 122 |  | Transmission Total | 63.6688 | 418.4703 | 922.0632 | 58.7067
123 | Customer Marginal Cost ($/Lamp-Month) | 3288 | 0.63648 | 1.4024 | 4.6112 | 123
124 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) | 1051.5945 | 0.27372 | 0.60311 | 0.63423 | 124 |  | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW)
125 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) | 1051.5945 | 4.7779 | 10.5276 | 11.0708 | 125 |  | Secondary
126 | Total - Lighting |  |  |  | 16.3162 | 126 |  | Primary | 14553.5212 | 1.14 | 2.5119 | 36.5573
127 | [5 empty] | 127 |  | Transmission
128 | Total - School |  |  |  | 23318.6061 | 128 |  | Total | 14553.5212 | 1.1446 | 2.522 | 36.7034
129 | [5 empty] | 129
130 | Total-System |  |  |  |  | 130 |  | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW)
131 | Customer Marginal Cost ($/Customer-Month) |  |  |  | 583848.6025 | 131 |  | Secondary
132 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  | 53703.6223 | 132 |  | Primary | 190501.4038 | 8.058 | 17.755 | 3382.3538
133 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  | 936252.0241 | 133 |  | Transmission
134 | Total - System |  |  |  | 1573804.2488 | 134 |  | Total | 190501.4038 | 8.0902 | 17.826 | 3395.8695
| GRC Phase 1 Distribution Revenue Requirement: | 1588810.5963 | [5 empty] | Total - Schedule AL-TOU (Bundled) |  |  |  | 3510.8485
| Non-Marginal Revenue Requirement | 15006.3475
| Marginal Distribution Revenue Requirement Allocation | 1573804.2488 | [5 empty] | Schedule A6-TOU (DA/CCA)
Customer Marginal Cost ($/Customer-Month)
| Marginal Customer Distribution Revenue Requirement | 264974.5343 | [5 empty] | Secondary
| Marginal Demand-Related Distribution Revenue Requirement | 449282.6313 | [5 empty] | ≤500 kW
| Total Marginal Distribution Revenue Requirement | 714257.1655 | [5 empty] | 500 - 12 MW
> 12 MW
| EPMC Allocation Factor | 220.3% | [5 empty] | Secondary Total
Note: | [7 empty] | Primary
| (1) Determinants: sum of the 2020 determinants (customers-month, on-peak demand kW-year, and non-coincident demand kW-year) by customer class. | [6 empty] | ≤500 kW
| (2) Marginal Distribution Customer Rate ($/Customer-Month): equals the marginal distribution customer cost by class divided by the forecasted number of customer months by customer class. | [6 empty] | 500 - 12 MW | 62.0433 | 85.1251 | 187.5658 | 11.6372
| (3) Marginal Distribution On-Peak Demand Rate ($/On-Peak kW): equals the marginal distribution demand cost by customer class multiplied by the percentage of distribution | [6 empty] | > 12 MW
| capacity costs associated with on-peak demand divided by the forecasted annual on-peak demand by customer class. | [6 empty] | Primary Total | 62.0433 | 85.1251 | 187.5658 | 11.6372
(4) Marginal Distribution Non-Coincident Demand Rate ($/On-Peak kW): equals the marginal distribution demand cost by customer class multiplied by the percentage of distribution
| capacity costs associated with noncoincident demand divided by the forecasted annual non-coincident demand by customer class. | [6 empty] | Transmission
| (5) EPMC Distribution Rate: equals the Marginal Distribution Rate multiplied by the EPMC Distribution Allocation Factor. | [6 empty] | ≤500 kW
| (6) EPMC Distribution Revenue Allocation: equals the EPMC Distribution Rate multiplying by the applicable determinants. | [6 empty] | 500 - 12 MW | 20.658 | 687.8627 | 1515.6463 | 31.3102
[8 empty] | > 12 MW | 13.2987 | 1125.5238 | 2479.9949 | 32.9807
[8 empty] | Transmission Total | 33.9567 | 418.4703 | 922.0632 | 31.3102
Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW)
Secondary
[8 empty] | Primary | 45510.3778 | 1.14 | 2.5119 | 114.3184
Transmission
[8 empty] | Total | 45510.3778 | 1.1446 | 2.522 | 114.7752
Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW)
Secondary
[8 empty] | Primary | 228257.3089 | 8.058 | 17.755 | 4052.7102
Transmission
[8 empty] | Total | 228257.3089 | 8.0902 | 17.826 | 4068.9046
[8 empty] | Total - Schedule AL-TOU (DA/CCA) |  |  |  | 4226.6273

## Distrib Revenue Allocation
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Uncapped Distribution Revenue Allocation by Customer Class
|  | Updated Distribution Revenue Allocation1 |  |  |  |  | Comparison to Current Allocation2 |  | Comparison to 2016 GRC Phase 2 Proposed Allocation3
|  | Distribution | Non Marginal | Marginal | Proposed |  | Current |  | SDG&E 2016 GRC Phase 2
|  | Allocation | Distribution | Distribution | Total Distribution |  | Total Distribution | Percentage | Proposed Total Distribution | Percentage
|  | Factors | Revenue | Revenue | Revenue Allocation |  | Revenue Allocation | Change | Revenue Allocation | Change
Line | Customer Class | (%) | ($000) | ($000) | ($000) | (%) | ($000) | (%) | ($000) | (%) | Line
No. | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | No.
1 | Residential | 50.85% |  | 800337.1009 | 800337.1009 | 50.37% | 702272.2648 | 13.96% | 771661.7923 | 3.716% | 1
2 | [10 empty] | 2
3 | Small Commercial | 14.23% |  | 223876.7546 | 223876.7546 | 14.09% | 250682.9088 | -10.69% | 251327.9577 | -10.92% | 3
4 | [10 empty] | 4
5 | Medium/Large Commercial & Industrial | 31.94% | 11553.8347 | 502654.4109 | 514208.2457 | 32.36% | 604747.7179 | -14.97% | 533843.3965 | -3.678% | 5
6 | [10 empty] | 6
7 | Agricultural | 1.194% |  | 18792.9654 | 18792.9654 | 1.183% | 20765.3312 | -9.498% | 19578.1202 | -4.01% | 7
8 | [10 empty] | 8
9 | Lighting | 0.3065% | 3398.5941 | 4824.4108 | 8223.005 | 0.5176% | 10342.3737 | -20.49% | 12399.3295 | -33.68% | 9
10 | [10 empty] | 10
11 | School | 1.482% | 53.9186 | 23318.6061 | 23372.5247 | 1.471% | NA | NA | NA | NA | 11
12 | [10 empty] | 12
13 | System | 100% | 15006.3475 | 1573804.2488 | 1588810.5963 | 100% | 1588810.5963 | 0% | 1588810.5963 | 0% | 13
14 | [10 empty] | 14
15 | Distribution Revenue Requirement ($000):4 | 1588810.5963 | [8 empty] | 15
16 | [10 empty] | 16
17 | Non Marginal Revenue Requirement Components ($000) | [9 empty] | 17
18 | Lighting Facilities & Maintenance Charge Revenues (Non-School):5 | 3398.5941 | [8 empty] | 18
19 | Lighting Facilities & Maintenance Charge Revenues (School):5 | 27.6986 | [8 empty] | 19
20 | Standby Revenues:6 | 8047.8302 | [8 empty] | 20
21 | Distance Adjustment Fee Revenues (Non-School):7 | 3506.0046 | [8 empty] | 21
22 | Distance Adjustment Fee Revenues (School):7 | 26.22 | [8 empty] | 22
Note:
(1) Updated Distribution Revenue Allocation: allocation of the current distribution revenue requirement based on the marginal Distribution Allocation Factors presented in this Application.
(2) Current Total Distribution Revenue Allocation: allocation of current distribution revenue requirement based on the current class distribution allocation percentages reflected in current rates; rates effective January 1, 2020, pursuant to SDG&E Advice Letter 3487-E.
(3) 2016 GRC Phase 2 Proposed Total Distribution Revenue Allocation: total distribution revenue allocation based on the total distribution allocation factors proposed in SDG&E 2016 GRC Phase 2 (A.15-04-012) Rebuttal Testimony of William G. Saxe (Chapter 5) multiplied by the current total distribution revenue requirement.
(4) Distribution Revenue Requirement: the $1,588,811,000 Distribution Revenue Requirement reflects the current distribution revenues being collected in rates effective January 1, 2020, pursuant to SDG&E Advice Letter 3487-E, excluding revenues that have separate allocation treatment
such as Demand Response (DR) and Vehicle-Grid Integration (VGI).
(5) Non-Marginal Lighting Facilities & Maintenance Charge Revenues: Lighting Facilities Charges of $3,399,000 for non-school and $28,000 for school are the annual lighting facilities and maintenance revenues identified in the Lighting Model from SDG&E witness William Saxe (Chapter 7) revised direct testimony workpapers.
(6) Non-Marginal Standby Revenues: Standby Revenues of $8,048,000 are the standby revenues based on the forecasted standby determinants multiplied by the applicable current standby rates effective January 1, 2020, pursuant to SDG&E Advice Letter 3487-E.
(7) Non-Marginal Distance Adjustment Fee Revenues: Distance Adjustment Fees of $3,506,000 for non-school and $26,000 for school are the annual distance adjustment fees revenues based on the forecasted overhead and underground distance adjustment fee determinants in feet multiplied by the applicable
current distance adjustment fees effective January 1, 2020, pursuant to SDG&E Advice Letter 3487-E.
(8) Input data in blue font comes from a separate source file.

## Distrib Allocation Factors
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Marginal Cost Allocation Factor by Customer Class
[6 empty] | Total | Distribution
|  | Customer |  | Demand-Related |  | Distribution | Marginal Cost
|  | Marginal Cost | Percentage | Marginal Cost | Percentage | Marginal Cost | Allocation
|  | Revenue | Allocation | Revenue | Allocation | Revenue | Factor
Line | Customer Class | ($000) | (%) | ($000) | (%) | ($000) | (%) | Line
No. | (A) | (B) | (C) | (D) | (E) | (F) | (G) | No.
1 | Residential | 176612.518 | 66.65% | 186613.4103 | 41.54% | 363225.9283 | 50.85% | 1
2 | [7 empty] | 2
3 | Small Commercial | 44479.313 | 16.79% | 57125.1758 | 12.71% | 101604.4888 | 14.23% | 3
4 | [7 empty] | 4
5 | Medium/Large Commercial & Industrial | 38070.8882 | 14.37% | 190054.379 | 42.3% | 228125.2672 | 31.94% | 5
6 | [7 empty] | 6
7 | Agricultural | 2373.8312 | 0.8959% | 6155.1903 | 1.37% | 8529.0215 | 1.194% | 7
8 | [7 empty] | 8
9 | Lighting | 1229.5884 | 0.464% | 959.9279 | 0.2137% | 2189.5163 | 0.3065% | 9
10 | [7 empty] | 10
11 | School | 2208.3956 | 0.8334% | 8374.5479 | 1.864% | 10582.9435 | 1.482% | 11
12 | [7 empty] | 12
13 | System | 264974.5343 | 100% | 449282.6313 | 100% | 714257.1655 | 100% | 13
Note:
(1) Customer Marginal Cost Revenue: reflects customer-related distribution marginal costs.
(2) Demand-Related Marginal Cost Revenue: reflects feeder & local distribution and substation demand-related distribution marginal costs.

## Distrib Marginal Revenues
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Marginal Cost Revenues by Customer Class
|  | Secondary | Primary | Transmission | Total
Line | Description | ($000) | ($000) | ($000) | ($000) | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
1 | Customer Marginal Cost: |  |  |  |  | 1
2 | [5 empty] | 2
3 | Residential | 176612.518 |  |  | 176612.518 | 3
4 | Small Commercial |  |  |  |  | 4
5 | 0 - 5 kW | 10677.2764 | 37.4722 |  | 10714.7486 | 5
6 | >5 - 20 kW | 22806.469 | 7.8347 |  | 22814.3037 | 6
7 | >20 - 50 kW | 9858.5032 | 0.80633 |  | 9859.3095 | 7
8 | >50 kW | 1088.8202 | 2.131 |  | 1090.9512 | 8
9 | Total | 44431.0689 | 48.2441 |  | 44479.313 | 9
10 | [5 empty] | 10
11 | Medium/Large Commercial & Industrial |  |  |  |  | 11
12 | ≤500 kW | 34945.9713 | 133.7377 | 69.2899 | 35148.9989 | 12
13 | 500 - 12 MW | 2498.0711 | 220.499 | 140.5666 | 2859.1368 | 13
14 | > 12 MW |  | 4.674 | 58.0785 | 62.7525 | 14
15 | Total | 37444.0424 | 358.9107 | 267.9351 | 38070.8882 | 15
16 | [5 empty] | 16
17 | Agricultural |  |  |  |  | 17
18 | ≤20 kW | 1086.158 | 1.1158 |  | 1087.2738 | 18
19 | >20 kW | 1278.5752 | 7.9822 |  | 1286.5574 | 19
20 | Total | 2364.7332 | 9.098 |  | 2373.8312 | 20
21 | [5 empty] | 21
22 | Lighting | 1229.5884 |  |  | 1229.5884 | 22
23 | [5 empty] | 23
24 | School |  |  |  |  | 24
25 | ≤20 kW | 266.7371 | 2.8358 |  | 269.5728 | 25
26 | >20 kW | 1898.9771 | 37.7529 |  | 1936.73 | 26
27 | Lighting | 2.0928 |  |  | 2.0928 | 27
28 | Total | 2167.8069 | 40.5887 |  | 2208.3956 | 28
29 | [5 empty] | 29
30 | System | 264249.7577 | 456.8415 | 267.9351 | 264974.5343 | 30
31 | [5 empty] | 31
32 | [5 empty] | 32
33 | Demand-Related Marginal Cost |  |  |  |  | 33
34 | [5 empty] | 34
35 | Feeders & Local Distribution Demand: |  |  |  |  | 35
36 | Residential | 136701.9134 |  |  | 136701.9134 | 36 |  |  | AL-TOU (Non-School)
37 | Small Commercial | 41394.5405 | 408.5422 |  | 41803.0827 | 37
38 | Medium/Large Commercial & Industrial | 107135.6907 | 31516.7526 |  | 138652.4433 | 38
39 | Agricultural | 3935.6114 | 535.6363 |  | 4471.2477 | 39 |  |  | A6-TOU (Non-School)
40 | Lighting | 674.5534 |  |  | 674.5534 | 40
41 | School (Non-Lighting) | 5457.2005 | 664.4266 |  | 6121.6271 | 41
42 | School (Lighting) | 3.8856 |  |  | 3.8856 | 42
43 | System | 295303.3954 | 33125.3577 |  | 328428.7531 | 43 | Goal Seek
44 | [5 empty] | 44 | Total Based on Dist Planning Forecast Circuit Load | 328428.7531
45 | Substation Demand: |  |  |  |  | 45 | Difference | 0
46 | [5 empty] | 46 | Factor | 1.7203
47 | Residential | 49911.4969 |  |  | 49911.4969 | 47
48 | Small Commercial | 15172.35 | 149.7431 |  | 15322.0931 | 48 |  |  | AL-TOU (Non-School)
49 | Medium/Large Commercial & Industrial | 39717.8857 | 11684.0501 |  | 51401.9358 | 49
50 | Agricultural | 1482.2135 | 201.7291 |  | 1683.9426 | 50
51 | Lighting | 285.3745 |  |  | 285.3745 | 51 |  |  | A6-TOU (Non-School)
52 | School (Non-Lighting) | 2003.6586 | 243.95 |  | 2247.6086 | 52
53 | School (Lighting) | 1.4266 |  |  | 1.4266 | 53
54 | System | 108574.4059 | 12279.4723 |  | 120853.8781 | 54
55 | Total System Demand-Related Marginal Cost | 403877.8013 | 45404.8299 |  | 449282.6313 | 55 | Goal Seek
56 | [5 empty] | 56 | Total Based on Dist Planning Forecast Substation Load | 120853.8781
57 | TOTAL SYSTEM MARGINAL COST | 668127.559 | 45861.6715 | 267.9351 | 714257.1655 | 57 | Difference | 0
[7 empty] | Factor | 1.6984
Note:
(1) Customer Marginal Cost by Customer Class: equals the class unit marginal customer cost per year multiplied by the TY 2020
forecasted number of customers by class and by voltage level.
(2) Feeder & Local Distribution Demand Cost by Customer Class: equals the unit marginal feeder & local distribution demand cost
per year multiplied by the total non-coincident demand and the product of the class' share of circuit demand and applicable loss factors.
(3) Substation Demand Cost by Customer Class: equals the unit marginal substation demand cost per year multiplied by the
total non-coincident demand and the product of the class' share of substation demand and applicable loss factors.

## Distrib Marginal Cost Summary
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Marginal Unit Costs by Customer Class
Line | Description | Secondary | Primary | Transmission | Line
No. | (A) | (B) | (C) | (D) | No.
1 | Customer Marginal Cost: |  |  |  | 1
2 | Residential ($/Customer/Year) | 134.0177 |  |  | 2
3 |  |  |  |  | 3
4 | Small Commercial ($/Customer/Year) |  |  |  | 4
5 | 0 - 5 kW | 181.5508 | 455.6043 |  | 5
6 | >5 - 20 kW | 364.5822 | 455.6043 |  | 6
7 | >20 - 50 kW | 888.4145 | 455.6043 |  | 7 | FEA DR-03 - Marginal Distribution Customer Costs for Schedules AL-TOU and A6-TOU:
8 | >50 kW | 1339.8225 | 587.9045 |  | 8
9 |  |  |  |  | 9 | Schedule AL-TOU (Non-School) |  |  | Schedule A6-TOU (Non-School)
10 | Medium/Large Commercial & Industrial ($/Customer/Year) |  |  |  | 10 | Secondary | Primary | Transmission | Secondary | Primary | Transmission
11 | ≤500 kW | 1808.4042 | 896.1366 | 6278.8862 | 11 | 1805.6269 | 896.1939 | 6278.8862
12 | 500 - 12 MW | 4350.1676 | 992.5988 | 9344.2256 | 12 | 4351.8217 | 992.2097 | 9780.1749 |  | 1021.501 | 8254.3522
13 | > 12 MW |  | 1270.6968 | 13450.0799 | 13 |  | 1270.6968 | 13281.4637 |  |  | 13506.2853
14 |  |  |  |  | 14
15 | Agricultural ($/Customer/Year) |  |  |  | 15
16 | ≤20 kW | 372.6213 | 567.1556 |  | 16
17 | >20 kW | 1271.0521 | 654.1182 |  | 17
18 |  |  |  |  | 18
19 | Lighting ($/Lamp/Year) | 7.6378 |  |  | 19
20 |  |  |  |  | 20
21 | School |  |  |  | 21
22 | Non-Lighting ($/Customer/Year) |  |  |  | 22
23 | ≤20 kW | 428.5506 | 567.1556 |  | 23
24 | >20 kW | 2074.1135 | 890.9226 |  | 24
25 |  |  |  |  | 25
26 | Lighting ($/Lamp/Year) | 7.6378 |  |  | 26
27 |  |  |  |  | 27
28 | Demand-Related Marginal Cost: |  |  |  | 28
29 | Feeders & Local Distribution Demand ($/kW/Year) | 55.8774 | 55.8774 |  | 29
30 |  |  |  |  | 30
31 | Substation Demand ($/kW/Year) | 22.5721 | 22.5721 |  | 31
32 |  |  |  |  | 32
33 | Total Demand-Related Marginal Cost ($/kW/Year) | 78.4496 | 78.4496 |  | 33
Note:
(1) Customer, Feeder & Local Distribution Demand and Substation Demand Unit Marginal Costs: Customer, Feeder & Local
Distribution Demand and Substation Demand Unit Marginal Costs are from the direct testimony workpapers of SDG&E witness
William G. Saxe (Chapter 5).
(2) Input data in blue font comes from a separate source file.

## Distrib System Determinants
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Revenue Allocation Determinants
Line | Description | Secondary | Primary | Transmission | Total | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
1 | Forecasted 2020 Customers (Average): |  |  |  |  | 1
2 | Residential | 1317829.8333 |  |  | 1317829.8333 | 2
3 | Small Commercial |  |  |  |  | 3
4 | 0 - 5 kW | 58811.5096 | 82.2472 |  | 58893.7568 | 4
5 | >5 - 20 kW | 62555.0872 | 17.1962 |  | 62572.2834 | 5
6 | >20 - 50 kW | 11096.7386 | 1.7698 |  | 11098.5084 | 6
7 | >50 kW | 812.6601 | 3.6247 |  | 816.2847 | 7
8 | Total | 133275.9955 | 104.8379 |  | 133380.8333 | 8 | FEA DR-03 - Marginal Customer Costs for AL-TOU and A6-TOU:
9 | [5 empty] | 9 |  | System |  |  |  | Bundled |  |  |  | Direct Access/CCA
10 | Medium/Large Commercial & Industrial |  |  |  |  | 10 |  | Secondary | Primary | Transmission | Total | Secondary | Primary | Transmission | Total | Secondary | Primary | Transmission | Total
11 | ≤500 kW | 19324.2038 | 149.2381 | 11.0354 | 19484.4773 | 11 | AL-TOU (Non-School)
12 | 500 - 12 MW | 574.2471 | 222.1432 | 15.0432 | 811.4334 | 12 |  | 18950.6721 | 148.4186 | 11.0354 | 19110.1261 | 16685.7922 | 93.0118 | 8.7548 | 16787.5589 | 2264.8799 | 55.4068 | 2.2806 | 2322.5673
13 | > 12 MW |  | 3.6783 | 4.3181 | 7.9964 | 13 |  | 559.0136 | 206.7895 | 10.0938 | 775.897 | 407.5295 | 108.799 | 7.8162 | 524.1446 | 151.4842 | 97.9905 | 2.2777 | 251.7523
14 | Total | 19898.4509 | 375.0595 | 30.3966 | 20303.9071 | 14 |  |  | 3.6783 | 1.1319 | 4.8102 |  | 1.1298 |  | 1.1298 |  | 2.5485 | 1.1319 | 3.6804
15 | [5 empty] | 15 |  | 19509.6857 | 358.8865 | 22.2612 | 19890.8333 | 17093.3217 | 202.9407 | 16.571 | 17312.8333 | 2416.3641 | 155.9458 | 5.6902 | 2578
16 | Agricultural |  |  |  |  | 16
17 | ≤20 kW | 2914.9109 | 1.9673 |  | 2916.8782 | 17 | A6-TOU (Non-School)
18 | >20 kW | 1005.9188 | 12.203 |  | 1018.1218 | 18 |  |  | 13.8645 | 4.9493 | 18.8139 |  | 8.6943 | 3.2278 | 11.9221 |  | 5.1703 | 1.7215 | 6.8918
19 | Total | 3920.8297 | 14.1703 |  | 3935 | 19 |  |  |  | 3.1861 | 3.1861 |  |  | 2.0779 | 2.0779 |  |  | 1.1082 | 1.1082
20 | [5 empty] | 20 |  |  | 13.8645 | 8.1355 | 22 |  | 8.6943 | 5.3057 | 14 |  | 5.1703 | 2.8297 | 8
21 | Lighting | 5420.8333 |  |  | 5420.8333 | 21
22 | [5 empty] | 22
23 | School |  |  |  |  | 23
24 | ≤20 kW | 622.4167 | 5 |  | 627.4167 | 24
25 | >20 kW | 915.5608 | 42.3751 |  | 957.9359 | 25
26 | Lighting | 103 |  |  | 103 | 26
27 | Total | 1640.9775 | 47.3751 |  | 1688.3526 | 27
28 | [5 empty] | 28
29 | System-Total | 1481986.9202 | 541.4428 | 30.3966 | 1482558.7596 | 29
30 | [5 empty] | 30
31 | Lighting Lamp Count |  |  |  |  | 31
32 | Non-School | 160987.0833 |  |  |  | 32
33 | School | 274 |  |  |  | 33
34 | Total | 161261.0833 |  |  |  | 34
35 | [5 empty] | 35
36 | Forecasted 2020 On-Peak Demand (kW-year): |  |  |  |  | 36 | FEA DR-03 - Marginal On-Peak Demand Costs for Schedules AL-TOU and A6-TOU:
37 | Residential | 18669260.2157 |  |  | 18669260.2157 | 37 |  | System |  |  |  | Bundled |  |  |  | Direct Access/CCA
38 | Small Commercial | 3807029.1756 | 26930.2808 |  | 3833959.4564 | 38 |  | Secondary | Primary | Transmission | Total | Secondary | Primary | Transmission | Total | Secondary | Primary | Transmission | Total
39 | Medium/Large Commercial & Industrial | 7083819.1544 | 1959909.3045 |  | 9043728.4589 | 39
40 | Agricultural | 469880.674 | 62861.6579 |  | 532742.3319 | 40 | Schedule AL-TOU (Non-School) | 6906461.8886 | 1890319.0881 |  | 8796780.9768 | 5379060.5998 | 845749.0304 |  | 6224809.6302 | 1527401.2888 | 1044570.0577 |  | 2571971.3466
41 | Lighting | 236762.2179 |  |  | 236762.2179 | 41
42 | School (Non-Lighting) | 410303.4042 | 50344.3834 |  | 460647.7875 | 42 | Schedule A6-TOU (Non-School) |  | 60063.899 |  | 60063.899 |  | 14553.5212 |  | 14553.5212 |  | 45510.3778 |  | 45510.3778
43 | School (Lighting) | 1051.5945 |  |  | 1051.5945 | 43
44 | Total | 30678106.4364 | 2100045.6266 |  | 32778152.0629 | 44
45 | [5 empty] | 45
46 | Forecasted 2020 Non-Coincident Demand (kW-year): |  |  |  |  | 46 | FEA DR-03 - Marginal Non-Coincident Demand Costs for Schedules AL-TOU and A6-TOU:
47 | Residential | 45984509.6798 |  |  | 45984509.6798 | 47 |  | System |  |  |  | Bundled |  |  |  | Direct Access/CCA
48 | Small Commercial | 10289024.2898 | 102072.9869 |  | 10391097.2766 | 48 |  | Secondary | Primary | Transmission | Total | Secondary | Primary | Transmission | Total | Secondary | Primary | Transmission | Total
49 | Medium/Large Commercial & Industrial | 17143321.4377 | 5069265.4978 |  | 22212586.9355 | 49
50 | Agricultural | 1366013.585 | 186876.8702 |  | 1552890.4552 | 50 | Schedule AL-TOU (Non-School) | 16847446.6661 | 4618642.3536 |  | 21466089.0197 | 12888774.8592 | 2084758.0682 |  | 14973532.9274 | 3958671.8068 | 2533884.2855 |  | 6492556.0923
51 | Lighting | 236762.2179 |  |  | 236762.2179 | 51
52 | School (Non-Lighting) | 1476932.2183 | 180750.8934 |  | 1657683.1117 | 52 | Schedule A6-TOU (Non-School) |  | 418758.7127 |  | 418758.7127 |  | 190501.4038 |  | 190501.4038 |  | 228257.3089 |  | 228257.3089
53 | School (Lighting) | 1051.5945 |  |  | 1051.5945 | 53
54 | [5 empty] | 54
55 | Total | 76497615.0229 | 5538966.2482 |  | 82036581.2712 | 55
56 | [5 empty] | 56
57 | Circuit Effective Demand Factors |  |  |  |  | 57
58 | Residential |  |  |  | 34.9% | 58
59 | Small Commercial |  |  |  | 47.24% | 59
60 | Medium/Large Commercial & Industrial |  |  |  | 73.37% | 60
61 | Agricultural |  |  |  | 33.83% | 61
62 | Lighting |  |  |  | 33.45% | 62
63 | School |  |  |  | 43.38% | 63
64 | [5 empty] | 64
65 | Substation Effective Demand Factors |  |  |  |  | 65
66 | Residential |  |  |  | 31.95% | 66
67 | Small Commercial |  |  |  | 43.41% | 67
68 | Medium/Large Commercial & Industrial |  |  |  | 68.21% | 68
69 | Agricultural |  |  |  | 31.94% | 69
70 | Lighting |  |  |  | 35.48% | 70
71 | School |  |  |  | 39.94% | 71
72 | [5 empty] | 72
73 | Distribution Loss Factors | 1.0632 | 1.0578 |  |  | 73
Note:
(1) Forecasted 2020 Customers (Average): 2020 customer forecasts developed consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E.
Schiermeyer, Exhibit SDG&E-38.
(2) Forecasted 2020 Non-Coincident Demand (kW-year): forecasted 2020 non-coincident demand determinants were developed consistent with the sales forecast in the 2019 GRC Phase 2
(A.19-03-002) Direct Testimony of Kenneth E. Schiermeyer, Chapter 4.
(3) Circuit and Substation Effective Demand Factors: the class' contribution to circuit and substation demand are based on 3-year average of 2014-2016 demands at the SDG&E circuits and substations.
(4) Distribution Loss Factors: loss factors developed based on SDG&E's distribution load profiles.
(5) Input data in blue font comes from a separate source file.

## Distrib Revenue Requirement
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Current Distribution Revenue Allocation by Customer Class
Current
|  | Total Distribution | Allocation
|  | Revenue Requirement | Percentage
Line | Customer Class | ($000) | (%) | Line
No. | (A) | (B) | (C) | No.
1 | Residential | 702272.2648 | 44.2% | 1
2 |  |  |  | 2
3 | Small Commercial | 250682.9088 | 15.78% | 3
4 |  |  |  | 4
5 | Medium/Large Commercial & Industrial | 604747.7179 | 38.06% | 5
6 |  |  |  | 6
7 | Agricultural | 20765.3312 | 1.307% | 7
8 |  |  |  | 8
9 | Lighting | 10342.3737 | 0.651% | 9
10 |  |  |  | 10
11 | School | NA | NA | 11
12 |  |  |  | 12
13 | System | 1588810.5963 | 100% | 13
Note:
(1) Current Total Distribution Revenue Requirement: Current Total Distribution Revenue Requirement is the distribution revenues
collected in rates effective January 1, 2020, pursuant to Advice Letter 3487-E, excluding revenues that have separate allocation
treatment such as Demand Response (DR) and Vehicle-Grid Integration (VGI).
(2) Input data in blue font comes from a separate source file.