## raw_WiNGSPlanning
Field | Description | Calculation Method
upstreamardfacilityid | feeder segment, unique identifier | feeder segment, unique identifier
Baseline | Base, all simulations annual total costs mean (float) | base_all_sim_total_cost_mean
Wildfire | Base, wildfire simulation annual total costs mean (float) | base_wf_sim_total_cost_mean
PSPS | Base, PSPS simulation annual total costs mean (float) | base_psps_sim_total_cost_mean
PEDS | Base, PEDS simulation annual total costs mean (float) | base_peds_sim_total_cost_mean
Wildfire (%) | Percentage of wildfire costs from total costs | base_wf_sim_total_cost_mean/base_all_sim_total_cost_mean
PSPS (%) | Percentage of PSPS costs from total costs | base_psps_sim_total_cost_mean/base_all_sim_total_cost_mean
PEDS (%) | Percentage of PEDS costs from total costs | base_peds_sim_total_cost_mean/base_all_sim_total_cost_mean
Risk Reduction CCC | Total costs if CCC is applied subtracted from the Total Costs | base_all_sim_total_cost_mean-if_cc_mit_all_sim_total_cost_mean
Risk Reduction SUG | Total costs if SUG is applied subtracted from the Total Costs | base_all_sim_total_cost_mean-if_ug_mit_all_sim_total_cost_mean
CCC Safety Risk Reduction | Safety costs if CCC is applied subtracted from the Safety Costs | base_all_sim_safety_cost_mean-if_cc_mit_all_sim_safety_cost_mean
CCC Reliability Risk Reduction | Reliability costs if CCC is applied subtracted from the Reliability Costs | base_all_sim_reliability_cost_mean-if_cc_mit_all_sim_reliability_cost_mean
CCC Financial Risk Reduction | Financial costs if CCC is applied subtracted from the Financial Costs | base_all_sim_financial_cost_mean-if_cc_mit_all_sim_financial_cost_mean
SUG Safety Risk Reduction | Safety costs if SUG is applied subtracted from the Safety Costs | base_all_sim_safety_cost_mean-if_ug_mit_all_sim_safety_cost_mean
SUG Reliability Risk Reduction | Reliability costs if SUG is applied subtracted from the Reliability Costs | base_all_sim_reliability_cost_mean-if_ug_mit_all_sim_reliability_cost_mean
SUG Financial Risk Reduction | Financial costs if SUG is applied subtracted from the Financial Costs | base_all_sim_financial_cost_mean-if_ug_mit_all_sim_financial_cost_mean
Feeder | Feeder ID | First section of 'upstreamardfacilityid'
Pre-Mitigation LoRE | Likelihood of Risk Event Pre-Mitigation | sum of [base_wf_sim_events_per_year, base_psps_sim_events_per_year, base_peds_sim_events_per_year]
CCC Post-Mitigation LoRE | Likelihood of Risk Event Post CCC Mitigation | sum of [if_cc_mit_wf_sim_events_per_year, if_cc_mit_psps_sim_events_per_year, base_peds_sim_events_per_year]
SUG Post-Mitigation LoRE | Likelihood of Risk Event Post SUG Mitigation | sum of [if_ug_mit_wf_sim_events_per_year, if_ug_mit_psps_sim_events_per_year, base_peds_sim_events_per_year]
Pre CoRE | Consequence of Risk Event Pre Mitigation | Baseline/Pre-Mitigation LoRE
Pre-Risk Safety | Mean safety costs pre-mitigation | base_all_sim_safety_cost_mean
Pre-Risk Reliability | Mean reliability costs pre-mitigation | base_all_sim_reliability_cost_mean
Pre-Risk Financial | Mean financial costs pre-mitigation | base_all_sim_financial_cost_mean
Pre CoRE Safety | Safety Consequence of Risk Event pre-mitigation | Pre-Risk Safety/Pre-Mitigation LoRE
Pre CoRE Reliability | Reliability Consequence of Risk Event pre-mitigation | Pre-Risk Reliability/Pre-Mitigation LoRE
Pre CoRE Financial | Financial Consequence of Risk Event pre-mitigation | Pre-Risk Financial/Pre-Mitigation LoRE
CCC Post CoRE | Consequence of Risk Event post CCC mitigation | (Baseline-Risk Reduction CCC)/CCC Post-Mitigation LoRE
CCC Post CoRE Safety | Safety Consequence of Risk Event post CCC mitigation | (CCC Post CoRE*CCC Safety Risk Reduction)/Risk Reduction CCC
CCC Post CoRE Reliability | Reliability Consequence of Risk Event post CCC mitigation | (CCC Post CoRE*CCC Reliability Risk Reduction)/Risk Reduction CCC
CCC Post CoRE Financial | Financial Consequence of Risk Event post CCC mitigation | (CCC Post CoRE*CCC Financial Risk Reduction)/Risk Reduction CCC
SUG Post CoRE | Consequence of Risk Event post SUG mitigation | (Baseline-Risk Reduction SUG)/SUG Post-Mitigation LoRE
SUG Post CoRE Safety | Safety Consequence of Risk Event post SUG mitigation | (SUG Post CoRE*SUG Safety Risk Reduction)/Risk Reduction SUG
SUG Post CoRE Reliability | Reliability Consequence of Risk Event post SUG mitigation | (SUG Post CoRE*SUG Reliability Risk Reduction)/Risk Reduction SUG
SUG Post CoRE Financial | Financial Consequence of Risk Event post SUG mitigation | (SUG Post CoRE*SUG Financial Risk Reduction)/Risk Reduction SUG
base_all_sim_total_cost_mean | Base, all simulations annual total costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_all_sim_total_cost_mean | If CC mitigation applied, all simulations annual total cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_all_sim_total_cost_mean | If UG mitigation applied, all simulations annual total cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_wf_sim_total_cost_mean | Base, wildfire simulation annual total costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_wf_sim_total_cost_mean | If CC mitigation applied, wildfire simulation annual total cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_wf_sim_total_cost_mean | If UG mitigation applied, wildfire simulation annual total cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_psps_sim_total_cost_mean | Base, PSPS simulation annual total costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_psps_sim_total_cost_mean | If CC mitigation applied, PSPS simulation annual total cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_psps_sim_total_cost_mean | If UG mitigation applied, PSPS simulation annual total cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_peds_sim_total_cost_mean | Base, PEDS simulation annual total costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_all_sim_safety_cost_mean | Base, all simulations annual safety costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_all_sim_safety_cost_mean | If CC mitigation applied, all simulations annual safety cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_all_sim_safety_cost_mean | If UG mitigation applied, all simulations annual safety cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_wf_sim_safety_cost_mean | Base, wildfire simulation annual safety costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_wf_sim_safety_cost_mean | If CC mitigation applied, wildfire simulation annual safety cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_wf_sim_safety_cost_mean | If UG mitigation applied, wildfire simulation annual safety cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_psps_sim_safety_cost_mean | Base, PSPS simulation annual safety costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_psps_sim_safety_cost_mean | If CC mitigation applied, PSPS simulation annual safety cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_psps_sim_safety_cost_mean | If UG mitigation applied, PSPS simulation annual safety cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_peds_sim_safety_cost_mean | Base, PEDS simulation annual safety costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_all_sim_financial_cost_mean | Base, all simulations annual financial costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_all_sim_financial_cost_mean | If CC mitigation applied, all simulations annual financial cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_all_sim_financial_cost_mean | If UG mitigation applied, all simulations annual financial cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_wf_sim_financial_cost_mean | Base, wildfire simulation annual financial costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_wf_sim_financial_cost_mean | If CC mitigation applied, wildfire simulation annual financial cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_wf_sim_financial_cost_mean | If UG mitigation applied, wildfire simulation annual financial cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_psps_sim_financial_cost_mean | Base, PSPS simulation annual financial costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_psps_sim_financial_cost_mean | If CC mitigation applied, PSPS simulation annual financial cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_psps_sim_financial_cost_mean | If UG mitigation applied, PSPS simulation annual financial cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_peds_sim_financial_cost_mean | Base, PEDS simulation annual financial costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_all_sim_reliability_cost_mean | Base, all simulations annual reliability costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_all_sim_reliability_cost_mean | If CC mitigation applied, all simulations annual reliability cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_all_sim_reliability_cost_mean | If UG mitigation applied, all simulations annual reliability cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_wf_sim_reliability_cost_mean | Base, wildfire simulation annual reliability costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_wf_sim_reliability_cost_mean | If CC mitigation applied, wildfire simulation annual reliability cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_wf_sim_reliability_cost_mean | If UG mitigation applied, wildfire simulation annual reliability cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_psps_sim_reliability_cost_mean | Base, PSPS simulation annual reliability costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_psps_sim_reliability_cost_mean | If CC mitigation applied, PSPS simulation annual reliability cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_psps_sim_reliability_cost_mean | If UG mitigation applied, PSPS simulation annual reliability cost mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_peds_sim_reliability_cost_mean | Base, PEDS simulation annual reliability costs mean (float) | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_wf_sim_events_per_year | Base, annual rate of wildfire events | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_wf_sim_events_per_year | Base, annual rate of wildfire events if CCC is applied | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_wf_sim_events_per_year | Base, annual rate of wildfire events if SUG is appleid | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_psps_sim_events_per_year | Base, annual rate of PSPS events | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_cc_mit_psps_sim_events_per_year | Base, annual rate of PSPS events if CCC is applied | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
if_ug_mit_psps_sim_events_per_year | Base, annual rate of PSPS events if SUG is applied | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
base_peds_sim_events_per_year | Base, annual rate of PEDS events | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
num_sim_runs | Number of years simulated by montecarlo simulation | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.
risk_attitude | Metadata indicating if risk attitute scaling function was applied | Generated through a 5 million run Monte Carlo simulation obtained from WiNGS Planning model v3.193.0. For more information on the framework and calculation methodology behind WiNGS-Planning modeling outputs, see section 5.2.2 of the WMP.

## TrancheID
Field | Description | Calculation Method
upstreamardfacilityid | feeder-segment unique identifier for Quintile method | Queried from GIS database
Quintile_RA | Quintile unique identifier calculated for each feeder segment including risk aversion | Calculated in accordance with RDF Appendix A Row 14 at A-13, namely the “best practice for determining the homogeneity of risk profiles…resulting in 25 reporting tranches.”
HFTD | High Fire Thread District unique identifier | Areas of the state designated by the CPUC as having elevated wildfire risk, where each utility must take additional action
Max | formula to extract two characters from Quintile_RA column | formula to extract two characters from Quintile_RA column
upstreamardfacilityid | feeder-segment unique identifier for SDG&E’s Homogeneous Tranche Method (HTM) | Queried from GIS database
HFTD | High Fire Thread District unique identifier | Areas of the state designated by the CPUC as having elevated wildfire risk, where each utility must take additional action
HTM_RA | HTM unique identifier calculated for each feeder segment including risk aversion. | Calculated as described in SCG and SDG&E’s 2025 RAMP APPENDIX 3 White Paper Describing Alternative Tranching Method. Further description of the methodology and its application are available in the 2025 SCG/SDG&E RAMP-3 Risk Quantification Framework at page 43.
Max | formula to extract two characters from HTM_RA column | formula to extract two characters from HTM_RA column
Columns L to O | Summary table calculated from columns A to J. | Calculated from columns A to J.

## FeederSegment_miles
Field | Description | Calculation Method
upstreamardfacilityid | feeder-segment unique identifier | Queried from GIS database
FeederID | feeder unique identifier | Queried from GIS database
HFTD Tier | High Fire Thread District unique identifier | Areas of the state designated by the CPUC as having elevated wildfire risk, where each utility must take additional action
Total Primary OH Miles | Total Primary overhead miles in feeder-segment. | Queried from GIS database
Total Secondary OH Miles | Total Secondary overhead miles in feeder-segment. | Queried from GIS database
Total OH Miles | Total overhead miles in feeder-segment, calculated as sum of Primary and Secondary overhead miles. | Queried from GIS database
Columns L to M | raw values from SDG&E data sources which feed directly into columns A to F. | Queried from GIS database

## SUG&CCC_Lifecycle_cost
Field | Description | Calculation Method
upstreamardfacilityid | feeder-segment unique identifier for Quintile method | queried from GIS database
CCC Avg. Annual Cost ($/mile-year) | combined covered conductor related average annualized cost per mile | calculated by summing all combined covered conductor related costs for 55 years and divide it by 55 and the circuit miles of the segment. These combined costs include overhead asset inspections and repair/replacements, tree and pole related vegetation cost, fuel modification cost, PSPS related costs, early falling detection, falling conductor protection, and microgrid costs.
SUG Avg. Annual Cost ($/mile-year) | undergrounding related average annualized cost per mile | calculated by summing all undergrounding related costs for 55 years and divide it by 55 and the circuit miles of the segment. These combined costs include underground asset inspections and repair/replacements for the given segment if it's undergrounded, reduced PSPS related costs.
feeder | circuit ID | queried from GIS database
upstreamardfacilityid | feeder-segment unique identifier | queried from GIS database
oh_miles | overhead miles | summing miles for all overhead spans for a segment - queried from GIS database
total_if_cc_cost_per_mile | total cost of combined covered conductor related cost divided by the length of the circuit miles of the given segment | calculated by summing all combined covered conductor related costs for 55 years and divide it by the circuit miles of the segment. These combined costs include overhead asset inspections and repair/replacements, tree and pole related vegetation cost, fuel modification cost, PSPS related costs, early falling detection, falling conductor protection, and microgrid costs.
total_if_ug_cost_per_mile | total cost of undergrounding related cost divided by the length of the circuit miles after the given segment is undergrounded | calculated by summing all undergrounding related costs for 55 years and divide it by the circuit miles of the segment. These combined costs include underground asset inspections and repair/replacements for the given segment if it's undergrounded, reduced PSPS related costs.
total_efd_per_mile | cost of installation and maintenance of efd devices on a segment | total cost of early fault detection related cost divided by the length of the circuit miles
total_fcp_per_mile | cost of installation and maintenance of fcp on a segment | total cost of falling conductor protection related cost divided by the length of the circuit miles
avg_yearly_efd_cost_per_mile | average annualized cost of early fault detection related cost | calculated by dividing the total efd cost per mile by 55 years
avg_yearly_fcp_cost_per_mile | average annualized cost of falling conductor protection related cost | calculated by dividing the total fcp cost per mile by 55 years
avg_yearly_if_cc_cost_per_mile | average annualized cost of all combined covered conductor mitigation related costs if covered conductor mitigation was applied | calculated by dividing the total cc cost per mile by 55 years
avg_yearly_if_ug_cost_per_mile | average annualized cost of all underground mitigation related costs if underground mitigation was applied | calculated by dividing the total ug cost per mile by 55 years